CASTINE WATER DEPARTMENT

67 Court Street, Castine, ME 04421

(207) 326-8540 or (207) 223-2232

PWSID ME0090330

2024 ANNUAL CONSUMER CONFIDENCE REPORT

INTRODUCTION

The Federal Safe Drinking Water Act requires all community water systems to distribute an annual water quality report to its customers.  This is the 2024 annual water quality report of the Castine Water Department, which covers the period from January 1, 2024 through December 31, 2024.  This annual report is intended to provide you with important information about your drinking water.  We know that you count on the Castine Water Department for a safe and reliable supply of water everyday, and we are committed to providing the highest quality of service to you.  There were no violations during 2024.

# WATER QUALITY

The Safe Drinking Water Act mandates that the State of Maine, along with the Environmental Protection Agency (EPA), establish and enforce minimum drinking water quality standards.  These standards set limits on certain biological, radioactive, organic and inorganic substances sometimes found in drinking water.  The limits set on these substances are known as Maximum Contaminant Levels (MCL’s).  Two types of standards have been established.  Primary Standards set required levels of drinking water quality to protect your health.  Secondary Standards provide guidelines regarding the taste, odor, color, and other aesthetic aspects of your drinking water which do not present a health risk.  The Castine water quality is within the levels established by EPA and the State of Maine for all Primary Standards.

Responsibility for maintaining water quality resides with the Castine Water Department staff.  The Castine Water Department includes operators that are licensed by the State of Maine Department of Health and Human Services.  We ensure that your water is safe through regular testing for total coliform bacteria, turbidity, arsenic, pH, phosphate, alkalinity, disinfection byproducts, and chlorine.  These tests are conducted by the Maine State Health and Environmental Testing Laboratory, other private laboratories, and the Castine Water Department.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a human health risk.  Contaminants that may be present in source water include:  (1) microbial contaminants, such as viruses and bacteria, which may come from sewage or wildlife; (2) inorganic contaminants, such as salts and metals, which can be naturally occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, or farming; (3) pesticides and herbicides, which may come from a variety of sources such as agriculture, stormwater runoff, and residential uses; (4) organic chemical contaminants, including synthetic and volatile organic chemicals, which can come from gas stations, runoff, and septic systems and (5) radioactive contaminants which can be naturally occurring.  Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons, such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections.  These people should seek advice about drinking water from their health care providers.  EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791) or online: https://www.epa.gov/ccr/forms/contact-us-about-consumer-confidence-reports

Table 1 lists regulated testing conducted by the Castine Water Department for which results were obtained in 2024.  The most recent result is also included for contaminants which are not tested annually.  All other tested and regulated drinking water contaminants were below detection levels.  This testing is required by the State of Maine Drinking Water Program (DWP) and must be reported to all customers on an annual basis:

TABLE 1:  2024 REQUIRED CASTINE TESTING RESULTS

| CONTAMINANT | DATE | CASTINE RESULTS | EPA LIMIT | EPA GOAL | SOURCE |
| --- | --- | --- | --- | --- | --- |
| ## MICROBIOLOGICAL |  |  |  |  |  |
| Total Coliform (1) | Monthly Testing | 0 Positive Results | 1 Positive Result | 0 Positive Results | Naturally present in the environment. |
| Turbidity (7) | Continuous Testing | 0.17 NTU (0.04 – 0.31 NTU) | TT 1 NTU 95% 5 NTU 100% | 0.3 NTU | Naturally present in the environment. |
| ## INORGANICS |  |  |  |  |  |
| Antimony | 11/20/24 | 1.2 ppb | 6 ppb | 6 ppb | Erosion of natural deposits. |
| Barium | 11/20/24 | 0.018 ppm | 2 ppm | 2 ppm | Erosion of natural deposits. |
| Fluoride (2) | 11/20/24 | 0.08 ppm | 4 ppm | 4 ppm | Erosion of natural deposits. |
| Nitrate (5) | 5/21/24 | 0.56 ppm | 10 ppm | 10 ppm | Runoff from fertilizer use. Leaching from septic systems. Erosion of natural deposits. |
| Copper 90th Percent Value (3) | August 2023 | 0.081 ppm (0.0046 – 0.24 ppm) | 1.3 ppm | 1.3 ppm | Corrosion of household plumbing systems. |
| Number of Copper samples exceeding the Action Level: 0. |  |  |  |  |  |
| Lead 90th Percent Value (3) | August 2023 | 0 ppb (0 ppb) | 15 ppb | 0 ppb | Corrosion of household plumbing systems. |
| Number of Lead samples exceeding the Action Level: 0. Complete lead tap sampling data are available upon request. |  |  |  |  |  |
| RADIONUCLIDES |  |  |  |  |  |
| Combined Radium | 12/13/22 | 0.48 pCi/L | 5 pCi/L | 0 pCi/L | Erosion of natural deposits. |
| SYNTHETICS – PFAS |  |  |  |  |  |
| PFAS – Battle Ave Filtered Water (6) | 12/16/24 | < 2 ppt | 20 ppt | 0 ppt | Household products, fabrics, cookware and cleaners. |
| PFAS – Wadsworth Cove (6) | 12/16/24 | < 2 ppt | 20 ppt | 0 ppt | Household products, fabrics, cookware and cleaners. |
| PFAS – British Canal (6) | 12/16/24 | < 2 ppt | 20 ppt | 0 ppt | Household products, fabrics, cookware and cleaners. |
| PFAS – Spring Street (6) | 12/16/24 | < 2 ppt | 20 ppt | 0 ppt | Household products, fabrics, cookware and cleaners. |
| DISINFECTANTS AND DISINFECTION BYPRODUCTS |  |  |  |  |  |
| Total Trihalomethanes (4) | 8/19/24 | 8.4 ppb | 80 ppb | 0 ppb | Byproduct of drinking water chlorination. |
| Haloacetic Acids (4) | 8/19/24 | 3 ppb | 60 ppb | 0 ppb | Byproduct of drinking water chlorination. |
| Chlorine Residual | Monthly Testing | 0.35 ppm (0.27-0.48 ppm) | 4.0 ppm | 4 ppm | Drinking water chlorination |

Definitions:

- Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water.

- Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health.

- Running Annual Average (RAA): The Average of all quarterly samples for the last year at all sample locations.

- Action Level (AL): The concentration of a contaminant that, if exceeded, triggers treatment or other requirements that a water system must follow.

- Maximum Residual Disinfectant Level (MRDL): The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

- Maximum Residual Disinfectant Level Goal (MRDLG): The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

- Treatment Technique (TT): A required process intended to reduce the level of a contaminant in drinking water.

- Interim standard: The State of Maine has established an interim standard for PFAS of 20 parts per trillion (ppt).

Units:

ppm = parts per million or milligrams per liter (mg/L)      pCi/L = picocuries per liter

ppb = parts per billion or micrograms per liter (µg/L)       pos = positive samples

ppt = parts per trillion or nanograms per liter (ng/L)	 NTU = nephelometric turbidity units

Notes:

1) Total Coliform Bacteria:  Reported as the highest monthly number of positive samples, for water systems that take < 40 samples per month.

2)	Fluoride: For those systems that fluoridate, fluoride levels must be maintained between 0.5 to 1.2 ppm.  Castine does not add fluoride to the water.

3) Lead/Copper:  Action levels (AL) are measured at consumer’s tap.  90% of the tests must be equal to or below the action level.  Complete lead tap sampling data are available upon request.

4) TTHM/HAA:  Total Trihalomethanes (TTHM) and Haloacetic Acids (HAA) are formed as a by-product of drinking water chlorination.  This chemical reaction occurs when chlorine combines with naturally occurring organic matter in water.

5) Nitrate: Nitrate in drinking water at levels above 10 ppm is a health risk for infants of less than six months of age. High nitrate levels in drinking water can cause blue baby syndrome. Nitrate levels may rise quickly for short periods of time because of rainfall or agricultural activity. If you are caring for an infant, you should ask advice from your health provider.

6) PFAS: The degree of risk depends on the level of chemicals and duration of exposure.  Lab studies of animals exposed to high doses of PFAS have shown numerous negative health effects such as issues with reproduction, growth and development, thyroid function, immune system, neurology, as well as injury to the liver.  Research is still relatively new, and more needs to be done to fully assess exposure effects on the human body.

7) Turbidity: Turbidity has no health effects.  However, turbidity can interfere with disinfection and provide a medium for microbial growth.  Turbidity may indicate the presence of disease-causing organisms.  These organisms include bacteria, viruses, and parasites that can cause nausea, cramps, diarrhea and associated headaches.

The data presented in Table 1 demonstrates that the Castine Water Department has been in complete compliance with the requirements for bacteria sampling and has not experienced any positive results for Total Coliform.  Total Coliform is used as an indicator parameter for water supply bacterial contamination.  This data also shows that the Water Department is in compliance with Antimony, Barium, Fluoride, Nitrate, PFAS, Radionuclides, Turbidity, and Disinfectants and Disinfection Byproducts.  The Water Department tested during the summer months for lead and copper at ten homes.  Copper testing in 2023 was in complete compliance with a result of 0.081 ppm as compared to the EPA limitation of 1.3 ppm.  The lead sampling was also in compliance.  The 2023 lead testing was 0 ppb versus an EPA standard of 15 ppb.  The next round of lead and copper testing will occur in 2026.  If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  The Castine Water Department is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at:  http://www.epa.gov/safewater/lead.

SOURCE WATER ASSESSMENT

The sources of drinking water can include rivers, lakes, ponds, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and radioactive material and can pick up substances resulting from human or animal activity. The DWP has evaluated all public water supplies as part of the Source Water Assessment Program (SWAP). The assessments included geology, hydrology, land uses, water testing information, and the extent of land ownership or protection by local ordinance to see how likely our drinking water source is to being contaminated by human activities in the future. Assessment results are available at the DWP. For more information about the SWAP, please contact the DWP at telephone 287-2070.

# WATER SUPPLY/DISTRIBUTION INFORMATION

The Water Department has been obtaining water from three groundwater wells and one horizontal surface water collection system.  The Spring Street well is located near the intersection of Spring and Court Streets.  The water undergoes air stripping to remove acidic carbon dioxide before sodium hypochlorite (chlorine bleach – for disinfection) and poly-phosphate (corrosion inhibitor) are added.  The British Canal well is located off Wadsworth Cove Road and the water is treated with sodium hypochlorite and a corrosion inhibitor.  The Wadsworth Cove (350 well) is located off of Wadsworth Cove Road.  The water flows through two arsenic removal exchange media systems before being treated with sodium hypochlorite and a corrosion inhibitor.  The Battle Avenue horizontal pond collection system is located at the site of the former surface water treatment system.  The surface water treatment process begins with natural sand to filter pond water before a pre-filter, then two cartridge filters in series, then sodium hypochlorite is added before contact time, followed by soda ash addition (to increase the pH), and finally corrosion inhibitor addition.  In 2024, these four sources produced a total of 20.36 million gallons with an average daily production of 55,639 gallons.  There is one 612,000-gallon concrete storage reservoir in Witherle Woods that can supply water for up to several days during average use to the community.  The reservoir also is used for peak fluctuations in the system during hydrant flushing and for fire protection.  The Department maintains 45 hydrants throughout the distribution system for flushing and fire protection.

SOURCE WATER PROTECTION

In 2009, the Town adopted a source water protection ordinance to help prevent source contamination.

LEAD SERVICE LINE INVENTORY

On October 11, 2024, the Water Department completed the Lead Service Line Inventory (LSLI) as required by the Lead and Copper Rule.  The entire Castine Water Department LSLI spreadsheet is available for downloading and review on the Town website at the following link:

https://castine.me.us/wp-content/uploads/2024/12/Castine-Water-Lines-Lead-10-11-24.xlsx

CONTACT INFORMATION

This report is a summary of the Water Department’s activities during the past year.  If you have any questions about your water quality, the information contained in this report, or your water service in general, please call the Castine Water Department at (207) 326-8540.  You may also direct questions or concerns to the DWP at (207) 287-2070 or the Environmental Protection Agency’s Safe Drinking Water Hotline at (800) 426-4791.  Additional information is available on the Town’s Water Department webpage:

www.castine.me.us/water

The Water Department works out of the Battle Avenue treatment system with hours from 7:00 am to 3:30 pm Monday through Friday except on holidays.  The Utility Board meets in Emerson Hall on a quarterly basis and as needed.

Please share this information with anyone who drinks this water (or their guardians), especially those who may not have received this report directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this report in a public place or distributing copies by hand, mail, email, or another method.